## Slide 1
Light Water Analysis & Volatile Extraction (Light WAVE)| Water Prospecting, Ice Mining Demonstration, and Lunar Water Sample Return
Aaron Paz, NASA Johnson Space Center (JSC), TX Contact: aaron.paz-1@nasa.gov
Quantify the concentration of water ice and other volatiles in a sealed vessel with controlled heating. This provides high accuracy prospecting data and demonstrates critical functions for ice mining at a scale that allows for the water extracted to be collected and returned to earth for further analysis.
A multi-physics COMSOL model has been developed to understand sublimation losses during sample handling. Results are captured here:
Michel, J. R. (2022, November). Numerical Modelling of Sublimation Losses During Sample Handling Within the Light WAVE Lunar Water Prospecting Instrument. In Lunar Polar Volatiles Conference.
Technology Gaps Addressed
System Models
Overview
Mission
TX07.1.1 Destination Reconnaissance and Resource Assessment
TX07.1.2 Resource Acquisition, Isolation, and Preparation
Concept of Operations
Step 1: Fill crucible with icy regolith sample
Step 2: Seal and Heat Sample
Vent
3.1) Boiler builds pressure
3.2) Transfer pressure to tank
Repeat steps 3.1-3.4 until boiler is empty
Step 3) Analyze Volatiles
Closed valve
Open valve
Mass Spec
Tank
Boiler
MS
3.3) Quantify gas in tank
MS
3.4) Determine mole fractions
MS
Step 4) Weigh & Remove Sample
Brassboard in Vacuum Chamber
Key Features
Reusable crucibles (no inherent limit to the number of samples that can be processed)
Large sample size (reduces sublimation losses and enables water sample return)
Environmental tests completed to date:
  Random Vibration
  TVAC (-50 to +70 C)
  Thermal Cycles
  Dust
Tank
Tank
Tank
Vent
Vent
Vent