## Slide 1: Tests of the Utility of Neutron and Gamma Ray Probes for Resource Prospecting and
R. C. Elphic, D. J. Lawrence, Los Alamos National Lab
P. Chu, Honeybee Robotics
J. B. Johnson, US Army Corps of
Engineers/CRREL

## Slide 2: Motivation for H Prospecting Tools
Sanders, LEAG 2005.
Carries neutron spectrometer for prospecting hydrogen/ice.
Must be able to localize and characterize!
Lunar Polar Volatile Extraction Demonstration

## Slide 3: NASA-Supported Instrument Development
These instruments detect hydrogen:
  Surface Neutron Probe (SNeuP) rides on rover, ‘dowses’ for subsurface ice.
  Borehole Neutron Probe (BNeuP) is integrated in drill string, detects layers of buried water ice.
Mars Instrument Development Program (SMD)
Construction and Resource Utilization eXplorer (CRUX, ESMD)

## Slide 4: Preparations for SNeuP Test
Sonatube forms used to confine moistened soil.
Finishing off the sandbox.
Track and instrumented sled ready to go into MEF

## Slide 5: Finished Setup For SNeuP Test
Sled carries instrument, pulled by stepper motor.
Sled also carries neutron source.
SNeuP track and stepper motor installed. Instrument sled is near mid-point.

## Slide 6: Results of Mapping Deposits
30
15
5
0
30
5
30
15
5
0
15
15
5
5
5
0
15
15
0
30
15
5
0
30
5
30
15
5
0
15
15
5
5
5
0
15
15
0
Thermal + epithermal Counts/sec
0 1.25 2.5 3.75 5.0 6.25 7.5
X position (meters)
Y position (meters)
0 1.25
= 10 wt% H2O
= 3 wt% H2O

## Slide 7: Use 2 Energy Ranges for Depth & Abundance Proxies
5 cm
15 cm
30 cm
Slope gives WEH proxy
30
15
5
0
30
5
30
15
5
0
15
15
5
5
5
0
15
15
0
WEH Proxy
Depth Proxy
HeSn Data
HeSn (Thermal + epithermal) counts/s
HeCd (Epithermal) counts/s
WEH Proxy = (HeCd - 0.8)/(HeSn - 1.2)
Depth Proxy = HeCd - 0.1*(HeSn -1)
Low WEH High
Low depth High

## Slide 8: Borehole Test Setup
Borehole test assembly during construction
Ready for a 3 wt% layer.
Stepper motor and pulley system for raising/lowering D-HYDRA

## Slide 9: Borehole Neutron Log
Borehole Test Data
3%
10%
10%
3%
100-sec running averages
thermal+epithermal
epithermal

## Slide 10: More Borehole Testing
Measured Neutron Log
Use drill rig on its side.
30-cm cubes of limestone (H2O 0.1 wt%).
Target material places between limestone blocks.

## Slide 11: Dry Limestone Only
Test 6: Limestone only, no poly

## Slide 12: 15-cm layer of “100 wt% H2O”
Test 1: 12 sheets poly, 1/2 inch each

## Slide 13: 15-cm Layer of Crushed Gypsum (21 wt% H2O)
Test 7: Packed Gypsum Fragments
6-inch wide “box”

## Slide 14: HeSn Count Rate vs. Relative H2O
Crushed Gypsum
(assuming 70% volume filling fraction)
Polyethylene (ice proxy)
Total Water Fraction (relative
to 20-cm, 10wt% layer)
HeSn (thermal+epi) counts/sec

## Slide 15: Gamma Borehole Lithodensity Logger
Gamma source-sensor assembly
12-inches
Measured Gamma Ray Log
limestone
Pulverized
gypsum

## Slide 16: Physics of Gamma-gamma Logging

## Slide 17: Limestone only
LS

## Slide 18: 15-cm Layer of Polyethylene
LS
P
LS

## Slide 19: MLS-1 Lunar Basalt Simulant
LS
M
LS

## Slide 20: Soft-to-hard Ratio & Material Density

## Slide 21: Gammas & Average Atomic Number Zeff
Polyethylene
Gypsum
Limestone
MLS-1
Can get “average” composition of soil with depth

## Slide 22: Summary
Surface neutron probe locates H deposits
  Also assays deposit: depth & abundance.
  Do not need a neutron source (active).
  Cosmic ray-produced neutrons are all you need.
  Sensitivity: 200 ppm H and up, depth < ~70 cm.
Borehole neutron probe gets 3rd dimension.
  Stratigraphic profile - abundance vs. depth.
Borehole gamma lithodensity logger
  Average composition (low Z vs. high Z), FeO & TiO2.
  Soil bulk density.

## Slide 23: Backups

## Slide 24: 3.8 cm Layer of Polyethylene
Test 3: 3 sheets poly, 1/2 inch each

## Slide 25: Layout of Icy Deposits
30
15
5
0
30
5
30
15
5
0
15
15
5
5
5
0
15
15
= 10 wt% H2O
= 3 wt% H2O
5
5
5
15
15
15
30
30
25 cm
60 cm
5
5
5
15
15
60 cm
0
0
0
Depth profile of top line of pucks
Depth profile of bottom line of pucks
0
15
5 10 15 20 25 30
A B C D E F G
30
Numbers denote burial depths (cm)

## Slide 26: Count Rate vs. Relative H2O
Total Water Fraction (relative
to 20-cm, 10wt% layer)
HeSn (thermal+epi) counts/sec